| Policy # NFPA 1851 Compliant PPE Program | Related Policies: |  |
| --- | --- | --- |
| This policy is for internal use only and does not enlarge an employee’s civil liability in any way. The policy should not be construed as creating a higher duty of care, in an evidentiary sense, with respect to third party civil claims against employees. A violation of this policy, if proven, can only form the basis of a complaint by this department for non-judicial administrative action in accordance with the laws governing employee discipline. |  |  |
| Applicable KY Statutes: |  |  |
| OSHA: 29 CFR 1910.132 |  |  |
| NFPA Standard: 1500 Ch. 7, 1851, 1971 |  |  |
| Date Implemented: |  | Review Date: |

EDITOR’s Note: The following policy is offered as a supplement to the Personal Protective Equipment policy for Fire Departments that seek to adopt a program that complies in the strictest sense with NFPA 1851.

NFPA 1851 Compliant PPE Program

For the Selection, Care and Maintenance of Protective Ensembles for Structural Fire Fighting

Section 1: 	Administration

- Purpose

- Scope

- Definitions

Section 2:	Program

        - Program Parts

        - Records

        - Manufacturer’s Instructions

        - Protecting the Public and Personnel from Contamination

        - Reporting PPE Health and Safety Concerns

Section 3:	Selection

        - Committee

        - Risk Assessment

        - Field Evaluation

        - Specifications

Section 4:	Inspection

        - General Information

        - Routine Inspection

        - Advanced Inspection and Complete Liner Inspection

Section 5:	Cleaning and Decontamination

1.  General Information

2.  Routine Cleaning

3.  Advanced Cleaning

        - Specialized Cleaning – Decontamination

Section 6:	Repair

        - General Information

        - Repairs for All Ensemble Elements

        - Repairs for Protective Coats and Pants

Section 7:	Storage

- General Information

- Storage – On Duty

- Storage – Off Duty

Section 8:	Retirement

- General Information

- Retirement Criteria

- Retirement and Disposition

Section 9:	Special Incident Procedure

- General Information

- Custody of Ensemble and Ensemble Elements

Section 1: Administration

1.1	Purpose

The purpose of this Standard Operating Procedure is to establish a program for structural firefighting protective coats, pants, hoods, helmets, gloves and boots to reduce the safety and health risks associated with these items when they are poorly maintained, contaminated or damaged.

1.2	Scope

This document complies with NFPA 1851 Standard on Selection, Care and Maintenance of Protective Ensembles for Structural Fire Fighting and Proximity Fire Fighting, 2014 Edition.

This document describes the program parts, establishes program procedures and assigns roles and responsibilities to all members for implementing and maintaining the program.

It is the objective of the program to provide protective ensembles that are appropriate for their intended use.

It is the objective of the program to set requirements for the proper handling, care, maintenance and retirement of protective ensembles.

1.3	Definitions

Ensemble (or Structural Fire Fighting Protective Ensemble) - Multiple

elements of compliant protective clothing and equipment that when worn together provide protection from some risks, but not all risks, of emergency incident operations.

Manufacturer-Trained Organization. A non-verified organization trained by an element manufacturer of the same element type to conduct any one or a combination of advanced cleaning, advanced inspection, and basic repair on the organization’s elements.

Verified Organization. An organization verified by a third-party certification organization to conduct any one or a combination of advanced cleaning, advanced inspection, basic repair, and advanced repair on any organization’s elements.

Verified Independent Service Provider (ISP) is an independent service provider verified by a third-party certification organization to conduct any one or a combination of advanced inspection, advanced cleaning, basic repair, or advanced repair service.

Advanced Cleaning - thorough cleaning of ensembles or elements by washing with cleaning agents

Routine Cleaning - light cleaning of ensembles or ensemble elements performed by the end user without taking the elements out of service.

Specialized Cleaning - cleaning to remove hazardous materials or body fluids.

Section 2: Program

EDITOR’s Note: NFPA 1851 allows for 4 options for performing advanced cleaning, advanced inspections and repair services:

- Manufacturer-Trained Organization. A non-verified organization trained by an element manufacturer of the same element type to conduct any one or a combination of advanced cleaning, advanced inspection, and basic repair on the organization’s elements.

- Verified Organization. An organization verified by a third-party certification organization to conduct any one or a combination of advanced cleaning, advanced inspection, basic repair, and advanced repair on any organization’s elements.

- Verified Independent Service Provider (ISP) is an independent service provider verified by a third-party certification organization to conduct any one or a combination of advanced inspection, advanced cleaning, basic repair, or advanced repair service.

- Manufacturer

Each fire department needs to select from the appropriate options for each of the 3 activities. While confusing, what the 2014 Edition allows is a fire department to:

- perform advanced cleaning, advanced inspections, and repair services in house provided the department has personnel (a) trained by the manufacturer in how to perform these tasks; (b) trained by another element manufacturer in how to perform these tasks; or (c) trained by a verified ISP to perform these tasks

- contract with the manufacturer, a verified organization (another manufacturer), or a verified ISP

The change was intended to ensure that a manufacturer could not hold a fire department hostage by refusing to train their personnel unless they continued to buy a specific brand; or require a fire department with multiple lines of PPE to have to contract with multiple manufacturers for repairs.

Our recommendation is fire departments that choose to have their personnel trained to perform advanced cleaning, advanced inspections, and repair services in house obtain training from the manufacturer, and the policy is written with that in mind.

2.1	Program Parts

The program consists of the following parts:

- Records

- Protecting the public and personnel from contamination

- Selection

- Inspection

- Cleaning and decontamination

- Repairs

- Storage

- Retirement, disposition and special incident procedure

OPTION A: (Please select Option A or B and delete the other)

The fire department will outsource the following parts of the program:

- Advanced Inspection (reference Section 4.3) to

- Complete Liner Inspection (reference Section 4.3) to

- Cleaning and Decontamination (reference Section 5.1 through 5.4) to

- All Repairs (reference Section 6.1 through 6.3) to

- Advanced Repairs and Moisture Barrier Repairs (reference Section 6.2 through 6.3) to _________________________

Editor’s Note: The contractor must qualify as a verified organization or a verified ISP to provide cleaning and inspection services, or may be the original manufacturer.  Verified organizations and verified ISPs shall meet the requirements of NFPA 1851 Chapter 11, Verification, and shall be verified by a third-party certification organization. Copies of the verification documents are to be filed with the Safety Officer.

OPTION B: (Please select Option A or B and delete the other)

The fire department has designated personnel who have been trained to provide in-house:

- Advanced Inspection (reference Section 4.3)

- Complete Liner Inspection (reference Section 4.3)

- Cleaning and Decontamination (reference Section 5.1 through 5.4)

- Basic Repairs (Reference Section 6.1 through 6.2)

A list of trained personnel and copies of their training verification documents are filed with the safety Officer.

2.2	Records

Records will be kept for all structural firefighting protective clothing in use.  This includes all protective coats, pants, hoods, helmets, gloves and boots permanently assigned to uniformed personnel, as well as items available for temporary replacement. The information shall include:

- Person to whom the element is issued

- Date and condition when issued

- Manufacturer and model name or design

- Manufacturer’s identification number, lot number or serial number

- Month and year of manufacture

- Date and findings of advanced inspections

- Date(s) and findings of advanced cleaning or decontamination

- Reason for advanced cleaning or decontamination and who performed cleaning or decontamination

- Date(s) of repair(s), who performed repair(s), and brief description of repair(s)

- Date of retirement

- Date and method of disposal

At the time of issue, the Quarter Master will document in the PPE recordkeeping system, the following:

- Person to whom the element is issued

- Date and condition when issued

- Manufacturer and model name or design

- Manufacturer’s identification number, lot number or serial number

- Month and year of manufacture

All inspection, maintenance, and cleaning events will be recorded in the PPE recordkeeping system.

OPTION A: (Please select Option A or B and delete the other)

The Safety Officer will record upon sending to an outside contractor, the following information in the PPE recordkeeping system:

- Date(s) sent and contractor used for services

- Reason for services

The contractor will be responsible for records pertaining to the services they provide.  These include (choose from the following and delete other options):

- Date(s) and findings of advanced inspections

- Dates(s) and findings of advanced cleaning or decontamination

- Date(s) of repair(s) and description of repair(s)

OPTION B: (Please select Option A or B and delete the other)

PPE maintenance technician will record into the PPE recordkeeping system the following information:

- Date(s) and findings of advanced inspections

- Dates(s) and findings of advanced cleaning or decontamination

- Reason for advanced cleaning or decontamination

- Date(s) of basic repair(s) and description of repair(s)

- Date(s) of advanced and moisture barrier repair(s), contractor that performed repair(s) and description of repair

After items have reached their useful life per criteria established in this document (reference Section 8.2), the PPE maintenance technician or the Safety Officer will record into the PPE recordkeeping system:

- Date of retirement

- Date and method of disposal

All records will be kept for at least 12 months after the item has been retired.

2.3	Manufacturer’s Instructions

Manufacturer Care and Use Manuals are attached to all new NFPA 1971 structural fire fighting protective clothing.  When issuing new protective clothing, the Quarter Master will provide the member to whom they have been issued with the Care and Use Manual.

It is the responsibility of the uniformed member to read Manufacturer Care and Use Manuals.

Manufacturer care and maintenance instructions must be followed.

A reference copy of the Manufacturer Care and Use Manual will be available at the Safety Officer’s office.

2.4	Protecting the Public and Personnel from Contamination

Structural fire fighting protective clothing that has been determined to be soiled or contaminated must be removed from service, and cleaned or decontaminated.

Structural fire fighting protective clothing must not be worn or stored in fire department living quarters.

Structural fire fighting protective clothing must not be taken home, washed at home or washed in public laundries.

The public must not be exposed to potentially soiled or contaminated structural fire fighting protective clothing except during emergency operations.

2.5	Reporting Personal Protective Clothing Health and Safety Concerns

When a member has a health and safety concern related to protective equipment he/she shall notify the Safety Officer. The Safety Officer shall report all known or suspected element failures to the manufacturer and the certification organization in writing. The Safety Officer’s request shall include a request for a written acknowledgement within 30 days.

Section 3: Selection

3.1	Committee

A personal protective clothing committee will be established to administer the process of selecting ensemble and ensemble elements.

The committee will consist of members who are interested in and have knowledge of personal protective clothing and applicable NFPA standards.

The committee will consist of enough members to accomplish the required tasks.

3.2	Risk Assessment

Before starting the selection process, the committee will perform a risk assessment to evaluate the hazards and conditions faced by firefighters in the department.  The committee will determine the best method for sourcing, compiling and evaluating the information.  The risk assessment must include as a minimum:

- Types of duties performed

- How often personal protective clothing is used

- Organizational experiences

- Incident operations (strategy and tactics)

- Geographical location and climate

- Specific physical area of response

- Likelihood of or response to CBRN terrorism incidents

The risk assessment must be documented for later reference and/or review.

3.3	Field Evaluation

After evaluation of the risk assessment, the committee will contact manufacturers for participation in a field evaluation.  The committee will inform manufacturers of the performance requirements and any preferences in design or fabric composition.

Test participants will be selected based on:

- Willingness to participate

- Objectivity

- Level of operational activity

- Position within the department

- Age and gender

Participants will test each model of each manufacturer under consideration.

An evaluation form must be used to rate characteristics considered important by the committee.  The committee will establish the duration of the field evaluation.

Upon conclusion, the committee will analyze the results.

3.4	Specifications

The purchase specifications will indicate the committee’s choices for the following required NFPA 1971 ensemble element components:

- Garments

  - Outer shell material: fabric, weight, color

  - Thermal liner material

  - Moisture barrier material: substrate, film or coating

  - Trim: configuration, material, color

  - Closure system

  - Wristlets: material, design

- Hoods

  - Material

  - Face opening design

- Gloves

  - Composite materials

  - Wristlet or gauntlet

  - Wristlet material

- Helmets

  - Material

  - Color

  - Retention system

  - Trim color and configuration

  - Ear cover material and dimension

  - Eye protection

- Boots

  - Composite materials

The specifications can also include other performance requirements or features such as:

- Design or style requirements

- Customizations such as pockets, areas of enhanced insulation, lumbar support systems, etc.

- Weight reduction

- Proper interface between ensemble elements, including, but not limited to, coat to-hood and helmet, coat-to-pant, coat-to-glove, and pants-to foot wear

- Custom size requirements

- Other requirements deemed important by the committee

Other items that can be included in the specification include manufacturer requirements such as warranty, references, etc. or service requirements such as cleaning and repair.

Section 4: Inspection

4.1	General Information

The purpose of an inspection is to determine whether personal protective clothing (PPC) has soiling, contamination or damage that makes it unsafe for use or could eventually result in making it unsafe for use.

When appropriate, universal precautions must be used when inspecting PPC.

If PPC is found to be soiled or contaminated, it must be cleaned or decontaminated before further inspection.  Guidelines for determining whether ensemble elements should be cleaned are in Section 5.4 on decontamination.

4.2	Routine Inspection

Routine inspection is the responsibility of each member of the fire department who has been issued PPC.

Routine inspection must be performed after each use and after each exposure to an event that could result in damage.

Performing a brief inspection before the start of each duty day is encouraged.

Protective coats and pants should be inspected for the following:

- Soiling

- Contamination

- Physical damage such as:

- Rips, tears and cuts

- Damaged or missing hardware and closures

- Thermal damage (charring, burn holes, melting or discoloration of any layer)

- Damaged or missing trim

- Seams becoming un-sewn and missing or broken stitches

- Correct assembly of shell, liner and Drag Rescue Device (DRD)

DRDs should be inspected for the following:

- Installation in coat

- Soiling

- Contamination

- Physical damage

- Cuts, tears, punctures, cracking or splitting

- Thermal damage

- Seams becoming un-sewn and missing or broken stitches

Hoods should be inspected for the following:

- Soiling

- Contamination

- Physical damage

- Rips, tears and cuts

- Thermal damage

- Stretching or elongation of the face opening

- Seams becoming un-sewn and missing or broken stitches

Helmets should be inspected for the following:

- Soiling

- Contamination

- Physical damage to the shell

- Cracks, crazing, dents and abrasions

- Thermal damage to the shell (bubbling, soft spots, warping, discoloration)

- Physical damage to the earflaps

- Rips, tears and cuts

- Thermal damage (charring, burn holes, melting)

- Damaged or missing components of the suspension and retention systems

- Damage or missing components of the faceshield or goggles

- Damaged or missing reflective trim

- Seams becoming un-sewn and missing or broken stitches

Gloves should be inspected for the following:

- Soiling

- Contamination

- Physical damage

- Rips, tears and cuts

- Thermal damage

- Inverted liner

- Shrinkage

- Loss of flexibility and/or loss of elasticity of the wristlet

- Seams becoming un-sewn and missing or broken stitches

Boots should be inspected for the following:

- Soiling

- Contamination

- Physical damage

- Cuts, tears and punctures

- Thermal damage

- Exposed or deformed steel toe, steel midsole or shank

- Loss of water resistance

- Closure damage or not functioning

- Seams becoming un-sewn and missing or broken stitches

Additionally, interface components should be inspected to ensure that they continue to provide proper interface, as well as for signs of soiling, contamination, physical damage (cuts, tears, thermal damage or loss of seam integrity or missing stitches).

Members who suspect that a problem exists should inform the Safety Officer to request an advanced inspection.

4.3	Advanced Inspection and Complete Liner Inspection

Advanced inspections and any necessary testing will be conducted at a minimum of every 12 months, or whenever routine inspections indicate that a problem exists.

Ensemble elements that have been properly stored in accordance with Section 7 and are not used are not required to be subject to an advanced inspection.

A complete liner inspection will be performed along with the advanced inspection on all structural fire fighting coats and pants that have been in service for three years or more. A complete liner inspection of all garment elements shall be conducted after 2 years in service and annually thereafter following replacement of the moisture barrier, the CBRN barrier, or both.

OPTION A: (Please select Option A or B and delete the other)

The fire department has trained designated personnel to provide advanced inspection services sufficient to meet the requirements of a Manufacturer-Trained Organization under NFPA 1851.

The annual advanced inspection will be coordinated by the Safety Officer. Each member of the fire department who has been issued personal protective clothing will be notified of the date, time and location of the advanced inspection.

All members must submit all personal protective clothing issued to them for inspection.  Members who cannot submit their issue of personal protective clothing at the noted date, time and location must notify the Safety Officer in advance and request rescheduling.

PPE maintenance personnel will record the following information into the record keeping system:

- Date(s) and findings of advanced inspections

- Dates(s) and findings of advanced cleaning or decontamination

- Reason for advanced cleaning or decontamination

- Date(s) of basic repair(s) and description of repair(s)

- Date(s) of advanced and moisture barrier repair(s), contractor that performed repair(s) and description of repair

- The finding of the complete liner inspections

All separable layers of the garments’ elements shall be individually inspected. Protective coats and pants must be inspected for the following:

- Soiling

- Contamination

- Physical damage

- Rips, tears and cuts

- Damaged or missing hardware

- Thermal damage

- Loss of moisture barrier integrity

- Rips, tears, cuts or abrasions

- Discoloration

- Thermal damage

- Evaluation of system fit and coat/pants overlap

- Seams becoming un-sewn and missing or broken stitches

- Loss of material integrity

- Discoloration

- Change in texture

- Material strength

- Loss or shifting of liner material

- Loss of wristlet integrity

- Loss of elasticity

- Stretching

- Runs, cuts or burn holes

- Damaged or missing trim

- Label integrity and legibility

- Hook and loop functionality

- Liner attachment systems

- Closure system functionality

- Accessories for compliance with NFPA 1851 Ch. 4.2.3

- Correct assembly of shell, liner and Drag Rescue Device (DRD)

Protective coats and pants must have the following additional evaluations:

- Light evaluation of liners (all garments)

- Leakage evaluation (garments in service less than three years)

Protective coats and pants in service three years or more must have a complete liner inspection that requires separating the moisture barrier from the thermal liner and inspecting for:

- Physical damage to all layers (all sides)

- Rips, tears, cuts and abrasions

- Thermal damage

- Seams becoming un-sewn, missing or broken stitches and missing or loose seam tape

- Material physical integrity

- UV or chemical damage

- Changes in material texture

- Loss of material strength

- Loss or shifting of liner material

- Delaminating of film from substrate, flaking or powdering

- Label legibility

- Water barrier penetration evaluation (hydrostatic testing)

DRDs must be inspected for the following:

- Installation in coat

- Soiling

- Contamination

- Physical damage

- Cuts, tears, punctures, cracking or splitting

- Thermal damage

- Seams becoming un-sewn and missing or broken stitches

Hoods must be inspected for the following:

- Soiling

- Contamination

- Physical damage

- Rips, tears and cuts

- Thermal damage

- Shrinkage

- Loss of material elasticity or stretching out of shape

- Stretching or elongation of the face opening

- Seams becoming un-sewn and missing or broken stitches

- Label legibility

Helmets must be inspected for the following:

- Soiling

- Contamination

- Physical damage to the shell

- Cracks, crazing, dents and abrasion

- Thermal damage

- Physical damage to the earflaps

- Rips, tears and cuts

- Thermal damage

- Damaged or missing components of the suspension and retention systems

- Functionality of the suspension and retention systems

- Damage or missing components of the faceshield or goggles

- Functionality of the faceshield or goggles

- Damage to the impact cap

- Damaged or missing reflective trim

- Accessories for compliance

- Seams becoming un-sewn and missing or broken stitches

- Label legibility

Gloves must be inspected for the following:

- Soiling

- Contamination

- Physical damage

- Rips, tears and cuts

- Thermal damage

- Inverted liner

- Shrinkage

- Loss of flexibility and/or loss of elasticity of the wristlet

- Seams becoming un-sewn and missing or broken stitches

- Label legibility

Boots must be inspected for the following:

- Soiling

- Contamination

- Physical damage

- Cuts, tears and punctures

- Thermal damage

- Exposed or deformed steel toe, steel midsole or shank

- Loss of water resistance

- Closure damage or not functioning

- Excessive tread wear

- Condition of lining

- Tears

- Excessive wear

- Separation from outer layer

- Heel counter failure

- Accessories for compliance

- Seams becoming un-sewn and missing or broken stitches

- Label legibility

Interface components must be inspected for the following:

- Soiling

- Contamination

- Physical damage

- Loss or reduction in properties that allow component to be effective as an interface

- Seams becoming un-sewn and missing or broken stitches

- Label legibility

OPTION B: (Please select Option A or B and delete the other)

The fire department has contracted with _______________ for the provision of advanced cleaning and inspection or advanced inspection that meets the requirements of NFPA 1851 as either the element manufacturer, a verified organization, or a verified ISP.  Annual advanced cleaning and inspection or advanced inspection will be coordinated by the Safety Officer.  Each member who has been issued protective ensemble or ensemble elements will be notified of the date that the ensemble or ensemble elements must be made available for pickup or dropped off.

All members must submit all ensemble and ensemble elements issued to them advanced cleaning and inspection or advanced inspection. Annual advanced cleaning and inspection or advanced inspection are conducted during off-duty hours. Therefore, members who are on duty on their scheduled date or on any of the days following their scheduled date must notify the Safety Officer in advance and request rescheduling.

The contractor will be responsible for records pertaining to the services they provide.  These include:

- Date(s) and findings of advanced inspections

- Dates(s) and findings of advanced cleaning or decontamination

- Date(s) of repair(s) and description of repair(s)

Section 5: Cleaning and Decontamination

5.1	General Information

The purpose of cleaning is to remove substances that could affect the performance of ensembles or personal protective clothing and to remove substances that are potentially hazardous to the user.

Soiled or contaminated elements shall not be brought into the home, washed in home laundries, or washed in public laundries

Contaminated PPC shall be isolated during the incident personnel decontamination process and removed from service until the contaminant or suspected contaminant is identified and the elements can receive specialized cleaning as necessary to remove the specific contaminant(s). Where possible and where the contaminant and its source have been identified, the safety officer shall consult the supplier of the contaminant and the manufacturer of the PPC for an appropriate decontamination agent and process.

PPC that are known or suspected to be contaminated with body fluids shall be evaluated on the incident scene and where appropriate rinsed with mild soap and water. Where necessary due to the extent of contamination the PPC should be isolated, tagged, and bagged at the incident scene for handling and specialized or advanced cleaning as appropriate.

5.2	Routine Cleaning

Routine cleaning is the responsibility of each member of the fire department who has been issued personal protective clothing.  It is a light cleaning performed by the member without the elements being taken out of service.

Routine cleaning must be performed after each use and immediately after termination of an incident to remove surface contaminants before they set in.

Personal protective clothing should be cleaned as follows:

- Locate and read the manufacturer’s label for instructions on cleaning and drying

- Brush off dry debris

- Rinse off other debris with a garden hose

- High velocity water jets shall not be used

- Gently brush with a soft bristle brush when necessary and rinse again

If further cleaning is necessary, the following utility sink procedure should be used:

- Protective gloves and safety glasses must be worn

- Pre-treat heavily soiled areas or spots with soap that meets manufacturer’s recommendations

- Do not use chlorine bleach

- Use warm water that does not exceed 40° C (105° F)

- Gently brush with a soft bristle brush

- Rinse thoroughly

- Air dry by hanging

- Do not dry in the sun (sunlight degrades the outer shell material)

- Inspect for cleanliness

If the above cleaning procedures have not rendered the element clean enough for service, the element must be taken out of service and subjected to an advanced cleaning.

5.3	Advanced Cleaning

Advanced cleaning will be conducted at a minimum of every 12 months, or whenever personal protective clothing is soiled to the extent that soil cannot be sufficiently removed by routine cleaning.  Advanced cleaning is a thorough cleaning that requires personal protective clothing to be taken out of service.

Advanced cleaning procedures are based on each protective clothing element’s manufacturer’s care instructions. Therefore, they must be updated by the Safety Officer whenever new personal protective clothing is purchased.

The following guidelines should be used by members to determine if personal protective clothing is soiled to the extent that advanced cleaning is necessary:

- Obvious odor that cannot be removed with routine cleaning or indicates contamination (diesel fuel for example)

- Visible soil that cannot be sufficiently removed with routine cleaning

- Known exposure to hazardous chemicals

- Known exposure to bio-hazards

- At the time of advanced inspection, personal protective clothing has not been subjected to an advanced cleaning in the preceding 12 months

OPTION A: (Please select Option A or B and delete the other)

The fire department has designated personnel who have been trained to perform advanced cleaning sufficient to meet the requirements of a Manufacturer-Trained Organization under NFPA 1851.  Annual advanced cleaning will be conducted at the time of advanced inspection unless, during the course of duty, elements become soiled to the extent that an advanced cleaning is necessary.  Members who are issued personal protective clothing that is not scheduled for advanced inspection, but meet criteria set out in the guidelines for advanced cleaning, must notify the Safety Officer.  Upon approval, the Safety Officer will arrange for an advanced cleaning to be performed.

All members must submit all personal protective clothing issued to them for advanced cleaning or advanced cleaning and inspection.

Annual advanced cleaning or advanced cleaning and inspection is conducted during off-duty hours. Therefore, members who are on duty on their scheduled date or on any of the days following their scheduled date must notify the Safety Officer in advance and request rescheduling.

Members who are issued personal protective clothing that is not scheduled advanced cleaning or advanced cleaning and inspection, but meet criteria set out in the guidelines for advanced cleaning, must notify the Safety Officer.  Upon approval, the Safety Officer will arrange for an advanced cleaning to be performed.

PPE maintenance personnel will record the following information into the record keeping system:

- Date(s) and findings of advanced inspections

- Dates(s) and findings of advanced cleaning or decontamination

- Reason for advanced cleaning or decontamination

- Date(s) of basic repair(s) and description of repair(s)

- Date(s) of advanced and moisture barrier repair(s), contractor that performed repair(s) and description of repair

The following procedures must be used for advanced cleaning of hoods, protective coats and pants:

Advanced cleaning of hoods, coats and pants shall be conducted by machine unless specifically prohibited.

Prepare washer-extractor if previous use has been for something other than personal protective clothing

- Run empty machine through a complete laundry cycle with detergent on hot water temperature setting

Prepare garments for laundering

- Protective gloves and safety glasses must be worn

- Remove all items from pockets

- Separate the liner from the shell

- Remove the DRD from the coat (if removable)

- Pre-treat heavily soiled areas or spots with soap that meets manufacturer’s recommendations

- Do not use chlorine bleach

- If using a tag gun, attach a laundry tag to each component

- To avoid puncturing the moisture barrier, tags should be attached on the coat liner pocket and above the top seam on the waist of the pants liner

- Secure all closures, hooks and loops, hooks and dees, zippers, snaps, pocket flaps, collars, hardware, etc.

- Place DRDs into mesh bag

- Create wash loads of like components. For example, all shells or all liners

- DRDs may be washed with retired liners to make up a full wash load

Load washer-extractor with wash load created from like components

- Wash load must not exceed weight capacity of machine

- Select appropriate wash cycle from the program guide posted on washer-extractor door

- Add cleaning product into the detergent compartment

- Do not exceed level of measurement recommended by detergent guide posted on washer-extractor door

After wash cycle has completed, remove garments for drying

- Air dry by hanging

- Do not dry in the sun

After coats and pants are dry, proceed with advanced inspection.

The following procedure must be used for advanced cleaning of hoods:

Hoods may be washed with coat and pant liners

The following procedures must be used for advanced cleaning of helmets:

Prepare helmet for cleaning

- Protective gloves and safety glasses must be worn

- Dissemble helmet components

To clean the helmet shell

- Fill utility sink with warm water and the appropriate amount of cleaning solution per manufacturer’s recommendation

- Use a sponge to wipe off contaminants and soil from helmet shell

- Rinse with clean water

- Dry shell with soft towel or air dry at room temperature

To clean helmet components

- Fill utility sink with warm water and the appropriate amount of cleaning solution per manufacturer’s recommendation

- Immerse browpad, ratchet pad and ear covers into sink and hand wash

- Rinse with clean water

- Air dry by hanging

- Do not dry in the sun

To clean faceshield or goggles

- Fill utility sink with warm water and the appropriate amount of cleaning solution per manufacturer’s recommendation

- Immerse faceshield and clean with sponge

- Rinse with clean water

- Dry with soft towel

The following procedures must be used for advanced cleaning of gloves:

- Do not machine wash

- Fill utility sink with warm water and the appropriate amount of cleaning solution per manufacturer’s recommendation

- Gently scrub gloves with a soft bristle brush

- Rinse with clean water

- Air dry by hanging

- Do not dry in the sun

The following procedure must be used for advanced cleaning of boots:

- Do not machine wash

- Fill utility sink with warm water and the appropriate amount of cleaning solution per manufacturer’s recommendation

- Gently scrub boots with a soft bristle brush

- Rinse with clean water

- Dry with soft towel or air dry at room temperature

- Do not dry in the sun

OPTION B: (Please select Option A or B and delete the other)

The fire department has contracted for the provision of advanced cleaning or advanced cleaning and inspection.  Prior to commencing any cleaning or decontamination, the contractor shall demonstrate to the safety officer’s satisfaction that the procedures for cleaning and decontamination do not compromise the performance of ensembles and ensemble elements.

Annual advanced cleaning or advanced cleaning and inspection will be coordinated by the Safety Officer.  Each member of the fire department who has been issued personal protective clothing will be notified of the date that personal protective clothing must be made available for pickup or dropped off.

Members must submit all personal protective clothing issued to them for advanced cleaning or advanced cleaning and inspection.  Annual advanced cleaning or advanced cleaning and inspection is conducted during off-duty hours. Therefore, members who are on duty on their scheduled date or on any of the days following their scheduled date must notify the Safety Officer in advance and request rescheduling.

Members whose issued personal protective clothing is not scheduled for advanced cleaning or advanced cleaning and inspection, but meet criteria set out in the guidelines for advanced cleaning, must notify the Safety Officer.  Upon approval, the Safety Officer will arrange for an advanced cleaning to be performed.

The contractor  will be responsible for records pertaining to the services they provide.  These include:

- Date(s) and findings of advanced inspections

- Date(s) and findings of advanced cleaning or decontamination

- Date(s) of repair(s) and description of repair(s)

5.4	Decontamination

Decontamination is a specialized cleaning of personal protective clothing that is known or suspected to be contaminated with hazardous materials.  Personal protective clothing will be evaluated on the scene by the Safety Officer to assess extent of contamination.  The Safety Officer will determine whether the elements need to be isolated, tagged and bagged on scene and sent to the contractor for decontamination.

Personal protective clothing contaminated by CBRN terrorism agents must be immediately retired upon confirmed exposure.

Section 6: Repairs

6.1	General Information

The purpose of repair is to correct damage to ensure that personal protective clothing performs at a serviceable level.  Unrepaired damage can make them unsafe for use or eventually result in making them unsafe for use.

Although minor repairs to protective coats and pants and most repairs of helmets, gloves and footwear can be made by designated personnel of this fire department who have been trained to provide basic repairs, field repairs might not be as strong or permanent as professional repairs.  The Safety Officer determines when repairs of any complexity, including those defined as basic repairs by NFPA 1851, 2008 Edition, exceed the repair proficiency of the fire department’s trained personnel.

All repairs must be done in a manner and using like materials and components that are compliant to NFPA 1971.

Basic repairs that may be accomplished by designated trained personnel include:

- Limited protective coat and pants repairs, performed in the same manner and with like construction of the manufacturer

- Patching of minor tears, char marks, ember burns and abraded areas in outer shells and thermal liners

- Replacement hardware, except positive closure systems on outer shells

- Removal and replacement of visibility markings

- Restitching seams less than 1"

- Closing liner systems after complete liner inspection

- Helmet repair and component replacement, in accordance with manufacturer’s instructions

- Glove repair, in accordance with manufacturer’s instructions

- Footwear repairs, in accordance with manufacturer’s instructions

6.2	Repairs for All Ensemble Elements

Members who suspect that a problem exists should inform the Safety Officer to request an advanced inspection.

Before any repair work is performed, elements that fall within the guidelines for determining whether personal protective clothing should be cleaned (reference Section 5.4) must be subjected to an advanced cleaning.

Basic repairs as defined by NFPA 1851, 2014 edition may be performed by designated personnel who have been trained to perform basic repairs.  The Safety Officer determines when repairs of any complexity, including those defined as basic repairs, exceed the repair proficiency of the fire department’s trained personnel.

PPE maintenance personnel will record the following information into the system:

- Date(s) and findings of advanced inspections

- Dates(s) and findings of advanced cleaning or decontamination

- Reason for advanced cleaning or decontamination

- Date(s) of basic repair(s) and description of repair(s)

- Date(s) of advanced and moisture barrier repair(s), contractor that performed repair(s) and description of repair

6.3	Repairs for Protective Coats and Pants

Advanced repairs of protective coats and pants, and repairs that exceed the proficiency of the fire department’s trained personnel, must only be performed by the original element manufacturer or a Verified Independent Service Provider (ISP).

The fire department has contracted with an outside contractor for the provision of protective coat and pants advanced repair.  When it is determined through advanced inspection that a protective coat and/or pants requires advanced repair, the damaged element will remain out of service until repairs have been performed.  The person performing the advanced inspection will notify the safety officer that the damaged element will remain out of service.

OPTION A: (Please select Option A, B or C and delete the others)

The Safety Officer will inform the member that the damaged element is out of service, and that the member must use his/her backup gear until the repaired element(s) is available for use.

OPTION B:

The Safety Officer will authorize the Quarter Master’s Office to issue a set of temporary replacement gear to the affected member until the repaired element(s) is available for use.  The member who has been issued temporary replacement gear will be notified when the repaired element(s) is being returned, and replacement gear must be returned.

OPTION C: (Please select Option A, B or C and delete the others)

The Safety Officer will obtain replacement gear from the contractor for issuance to the affected member until the repaired element(s) is available for use.  The member who has been issued temporary replacement gear will be notified when the repaired element(s) is being returned and replacement gear must be returned.

The contractor will be responsible for records pertaining to the services they provide.  These include:

- Date(s) and findings of advanced inspections

- Dates(s) and findings of advanced cleaning or decontamination

- Date(s) of repair(s) and description of repair(s)

Upon return of any repaired ensemble or ensemble element, members must perform a routine inspection (reference Section 4.2).  If damage has not been repaired or the repair has not been done to an acceptable level, the Safety Officer must be notified.

Section 7: Storage

7.1	General Information

Proper storage of personal protective clothing extends its life, maintains its performance and reduces potential health risks.  Improper storage can result in damage to the ensemble or ensemble element and can compromise the member’s safety.  Certain conditions can result in deterioration of performance of the ensemble or element or create potential health hazards.

Ultraviolet (UV) light is a known cause of personal protective clothing degradation.  Personal protective clothing must never be stored in direct sunlight.  They should be stored to minimize exposure to all sources of UV light, including fluorescent light and other UV sources.

Storage of wet or moist personal protective clothing promotes the growth of mildew and bacteria, which can lead to skin irritation or more serious medical conditions and affect the strength of some materials.

Storage in extreme temperatures for prolonged periods of time will accelerate deterioration of ensemble and elements.

Soiled personal protective clothing can present a health risk to individuals who come into contact with it.  Therefore, they should not be stored in personal living quarters and passenger compartments of vehicles.  Furthermore, to prevent the spread of disease and cross contamination, soiled personal protective clothing should be segregated from other items of clothing and laundry.

Storage or transporting in compartments or trunks with sharp objects, tools or other equipment could damage ensembles and ensemble elements.

Storage in contact with hydraulic fluids, solvents, hydrocarbons, hydrocarbon vapors or other contaminates can cause material degradation, transfer toxins to individuals and reduce FR properties of personal protective clothing.

7.2	Storage – On Duty

While members are on duty, personal protective clothing that is not being worn must not be placed in direct or indirect sunlight.

Each fire station has a designated area for staging personal protective clothing for use.  This area meets the conditions for proper storage. Therefore, it must be utilized by on duty members when personal protective clothing is not being worn.

If personal protective clothing must be transported in a trunk or vehicle with other equipment, it must be placed in a gear bag to avoid damage.

7.3	Storage – Off Duty

While members are off duty, personal protective clothing must not be stored in direct or indirect sunlight, the trunks or other compartments of personal vehicles or taken to a personal residence.

Before going off duty, members should perform a routine cleaning (reference Section 5.2) if personal protective clothing has become soiled during on duty activity.

Section 8: Retirement

8.1	General Information

The fire department has specific criteria for the permanent removal of personal protective clothing from operational use.  Personal protective clothing that is removed from service because it is no longer suitable for primary personal protection will be destroyed or marked and allocated to non-live fire training, dependent on reason for retirement.

8.2	Criteria for Retirement

- Physical damage that cannot be repaired

- Physical damage that cannot be economically repaired

- Physical damage arising from exposure to excessive heat beyond the conditions which personal protective clothing were designed to withstand

- Contaminated to the extent that it cannot be safely decontaminated

- Contaminated to the extent that it cannot be economically decontaminated

- Significant change in department specification

- Does not meet past or current NFPA standards

- Mandatory retirement due to age of personal protective clothing, namely ten years from date of manufacture, except for proximity shells which are five years from the date of manufacture

8.3	Retirement and Disposition

The decision to retire personal protective clothing is typically based on the evaluation result of advanced inspection.  Advanced inspections will be conducted at a minimum of every 12 months or whenever routine inspections indicate that a problem exists.  Advanced inspections may also be initiated after an incident where exposure to excessive heat, severe contamination or other extreme conditions could have compromised the personal protective clothing’s protective performance.

OPTION A: (Please select Option A or B and delete the other)

The fire department has designated personnel who have been trained to provide advanced inspection.  They understand the limitations of each ensemble and ensemble element and recognize the signs of failure.  When, in their judgment, personal protective clothing meets retirement criteria, the item(s) will be tagged with a Condemn Label and the Safety Officer notified.  The Safety Officer has final approval on retirement and disposition of retired items.

Damaged or contaminated personal protective clothing must be cut up or unassembled and bagged for pickup by a hazmat disposal contractor.  Personal protective clothing that have been retired for reasons other than damage or contamination, and remain in serviceable condition, will be permanently marked “for training use only” and allocated for non-live fire training.

PPE maintenance technicians will record the following information into the system:

- Date of retirement and disposal method or date of retirement and reallocation to training

OPTION B: (Please select Option A or B and delete the other)

The fire department has contracted with an outside firm for the provision of advanced cleaning and inspection or advanced inspection.  The contractor makes retirement recommendations based on the department’s retirement criteria.  When, in their judgment, personal protective clothing meets the established retirement criteria, the contractor  will notify the Safety Officer.  The Safety Officer will evaluate the contractor’s recommendation and approve retirement when satisfied that criteria have been met.

Damaged or contaminated personal protective clothing will be tagged with a Condemn Label and sent back to the department for disposal.  Personal protective clothing that has been retired for reasons other than damage or contamination, and remain in serviceable condition, will be tagged for training, permanently marked “for training use only” and sent back to the department to the attention of the Safety Officer.

The contractor will be responsible for records pertaining to the services they provide.  They include:

- Date of retirement recommendation

- Date of fire department approval

- Date sent back to the department

- Date and method of disposal

Section 9: Special Incident Procedure

9.1	General Information

The fire department has procedures for the handling and custody of personal protective clothing that was worn by members who were victims at incidents where serious injuries or fatalities to the members occurred.  This procedure is limited to the actions related to elements of personal protective clothing only.

9.2	Custody of Personal Protective Clothing

Personal protective clothing used during the incident by the injured or deceased member will be immediately removed from service by Safety Officer.

The Safety Officer will tag removed personal protective clothing with Confiscated Labels and place into cardboard boxes that are reserved for this use.  Do not place elements into plastic bags before storing.  Boxes must be labeled with date of incident, description of incident, affected member’s name and employee number and contents.

Confiscated personal protective clothing will be held by the Safety Officer.   Access to confiscated personal protective clothing will be limited, requires approval of the Fire Chief, and must be document through a chain of custody documentation.

Confiscated personal protective clothing will be formally evaluated by the Safety Officer or duly appointed investigation team.  Dependent on the evaluation results or severity of the incident, the medical examiner, law enforcement, element manufacturers or other experts may be consulted.

Confiscated personal protective clothing will be retained not less than 24 hours for fire department evaluation.  Personal protective clothing requiring further evaluation will be retained up to 30 days.